Energy_LogReg Cheat Sheet

Unit-days → P(forced outage or material derate). Short name: Energy_LogReg.

# Load

pd.read_csv('data/energy_units.csv')   # 12,000 rows, forced_outage in {Yes, No}

df.unit_id.nunique()   # independence is only approximate

# Encode

X = pd.get_dummies(df[cols], drop_first=True).astype(float)   # 16 columns

y = np.where(df.forced_outage == 'No', 0, 1)   # event rate ≈ 0.259

Dropped references: fuel=coal, region=ERCOT.

# Lesson estimator

train_test_split(X, y, test_size=0.2, random_state=1)

LogisticRegression(C=0.05, penalty='l1', solver='liblinear')

# Metrics (seed-1 test fold)

| Item | Number |
| --- | --- |
| No baseline (all) | 0.741 |
| Accuracy | 0.779 = (1739+130)/2400 |
| CM | [[1739,64],[467,130]] |
| Event prec / rec / F1 | 0.670 / 0.218 / 0.329 |
| ROC AUC | 0.757 |

# Signs

- age_years ≈ +0.045 per year.

- is_peak_hour ≈ +0.38.

- days_since_maint ≈ +0.004 per day.

- fuel_hydro ≈ −1.05, fuel_solar ≈ −0.95, fuel_nuclear ≈ −0.73 vs coal.

- Expanded: maint_overdue ≈ +0.78.

# Threshold as reserve %

t=0.20 → rec 0.85, prec 0.36.  t=0.30 → rec 0.61, prec 0.46.  t=0.50 → rec 0.22, prec 0.67.